### EXTRACTION AND PURIFICATION OF RNA FROM WHOLE BLOOD

### Phase 1: Reagent & Solution Setup

Before beginning, ensure your kit reagents are prepared as follows:

- RNA Lysis Buffer: Verify that β-mercaptoethanol (BME) has been added to your RNA Lysis Buffer (RLA) stock (10 μl of BME per 10ml of RLA).

- Wash & Stop Solutions: Ensure 95% ethanol has been added to both the concentrated RNA Wash Solution (RWA) and DNase Stop Solution (DSA) bottles.

- DNase I Enzyme: Rehydrate the lyophilized DNase I with the volume of Nuclease-Free Water indicated on the vial label. Mix gently by swirling; do not vortex. Keep on ice.

- RBC Lysis Solution: Have your Red Blood Cell Lysis Solution (CLB) ready.

### Phase 2: Red Blood Cell (RBC) Lysis & Leukocyte Harvesting

(Crucial steps to eliminate red blood cells and concentrate the white blood cells)

- Sample Input: Place 1ml of whole blood (collected in heparinized or EDTA-treated tubes) into a sterile 1.5ml or 2ml microcentrifuge tube.

- Initial Pellet: Centrifuge at 3,000 rpm (400×g) for 5 minutes. This generates a relatively clear plasma supernatant and a large cell pellet.

- Remove Plasma: Carefully pipet off and discard the supernatant from the top, being very careful not to disturb the cell pellet. (Note: The plasma may appear red due to minor erythrocyte lysis).

- First RBC Lysis: Add 1ml of Red Blood Cell Lysis Solution (CLB) to the pellet and resuspend it by carefully pipetting up and down 4–5 times.

- Centrifuge: Centrifuge at 3,000 rpm for 5 minutes.

- Remove Supernatant: Carefully remove 1ml of the supernatant from the top and discard it, leaving the remaining supernatant and the cell pellet in the tube. (Note: A distinct pellet may be difficult to see at this stage).

- Repeat Wash: Repeat Steps 4, 5, and 6 twice more (for a total of 3 RBC lysis washes). Exercise extreme caution during these steps to avoid losing the white blood cell pellet, which decreases significantly in size as the red blood cells lyse.

- Final Clean: Remove all but exactly 100 μl of the remaining supernatant from the tube, taking care to avoid the white blood cell pellet.

### Phase 3: Leukocyte Lysis & Homogenization

- Lysis: Add 175 μl of the prepared RNA Lysis Buffer (with BME added) directly to the concentrated cells. Pipet vigorously to thoroughly resuspend and lyse the leukocytes.

- Dilution: Add 350 μl of RNA Dilution Buffer (blue) to the mixture. Mix well by inverting the tube 3–4 times.

- Heat Incubation: Place the tube in a water bath or heating block preheated to 70∘C for exactly 3 minutes. Do not exceed 3 minutes, as prolonged heat can compromise the integrity of the RNA.

- Clarification: Centrifuge at 12,000-14,000×g for 10 minutes at room temperature (20-25∘C) to pellet cellular debris.

### Phase 4: RNA Binding & Column Washing

- Collect Cleared Lysate: Carefully transfer the cleared supernatant solution into a fresh microcentrifuge tube by pipetting, avoiding the pelleted debris.

- Ethanol Addition: Add 200 μl of 95% ethanol to the cleared lysate and mix by pipetting 3–4 times.

- Load Column: Transfer this entire mixture into the Spin Column Assembly. Centrifuge at 12,000-14,000×g for 1 minute.

- Discard Flow-Through: Remove the Spin Basket, discard the liquid from the Collection Tube, and place the Spin Basket back into the tube.

- First Wash: Add 600 μl of prepared RNA Wash Solution to the column assembly. Centrifuge at 12,000-14,000×g for 1 minute. Discard the flow-through and place the Spin Basket back into the Collection Tube.

### Phase 5: On-Column DNase Treatment

- Prepare DNase Mix: In a sterile tube, prepare the DNase incubation mix fresh by combining the following components in this exact order:

  - 40 μl Yellow Core Buffer

  - 5 μl 0.09M MnCl2

  - 5 μl Rehydrated DNase I enzyme

  - Mix gently by pipetting; do not vortex.

- Apply DNase: Apply 50 μl of this yellow mixture directly onto the silica membrane inside the Spin Basket, ensuring the membrane is completely covered.

- Incubate: Incubate at room temperature (20-25∘C) for 15 minutes.

- Stop: Add 200 μl of prepared DNase Stop Solution directly to the Spin Basket. Centrifuge at 12,000-14,000×g for 1 minute. (There is no need to empty the tube after this spin).

### Phase 6: Final Washes & RNA Elution

- Second Wash: Add 600 μl of RNA Wash Solution to the column. Centrifuge at 12,000-14,000×g for 1 minute.

- Dry Membrane: Empty the Collection Tube completely. Add 250 μl of RNA Wash Solution and centrifuge at high speed (12,000-14,000×g) for 2 minutes to thoroughly dry the membrane.

- Assemble Elution: Remove the plastic cap from the Spin Basket using a twisting motion. Transfer the Spin Basket into a fresh, sterile 1.5ml Elution Tube (provided).

- Elution: Add 100 μl of Nuclease-Free Water directly onto the membrane surface. Ensure the water completely covers the surface. Place the tubes in the centrifuge with the Elution Tube lids facing outward.

- Final Spin: Centrifuge at 12,000-14,000×g for 1 minute. Remove and discard the Spin Basket.

- Storage: Cap the tube containing your purified total RNA and store immediately at -70∘C.

Note on Blood Yields: Determining the yield and purity of RNA isolated from whole blood via spectrophotometry (NanoDrop/A260) is not recommended because the overall baseline yield of RNA from blood fluids is naturally quite low. For downstream RT-PCR, using 1 μl of this eluate is typically sufficient to detect abundant targets, whereas rarer transcripts may require up to 10 μl.