### EXTRACTION AND PURIFICATION OF TOTAL FROM SERUM

### Phase 1: Preparation of Solutions

Kit reagents are prepared as follows:

- RNA Lysis Buffer: Ensure β-mercaptoethanol (BME) has been added to the RNA Lysis Buffer (RLA) stock prior to use (10μl of BME per 10ml of RLA for the 10-prep kit, or 0.5ml per 50ml for the 50-prep kit).

- RNA Wash Solution (RWA): Add the required volume of 95% ethanol to the concentrated stock as indicated on the bottle label.

- DNase Stop Solution (DSA): Add the required volume of 95% ethanol to the concentrated stock as indicated on the bottle label.

- DNase I Enzyme: Rehydrate the lyophilized DNase I by adding the volume of Nuclease-Free Water specified on the vial label. Mix gently by swirling; do not vortex. Keep on ice.

### Phase 2: Serum Lysis & Homogenization

(Following the Section 8.A adaptation of the Section 4.B protocol for 100μl fluid samples)

- Lysate Preparation: Transfer 100μl serum sample into a sterile 1.5ml microcentrifuge tube.

- Lysis: Add 175μl of RNA Lysis Buffer (with BME added) directly to the serum. Pipet thoroughly to mix and lyse the sample.

- Dilution: Add 350μl of RNA Dilution Buffer (blue) to the 175μl lysate. Mix thoroughly by inverting the tube 3–4 times.

- Heat Incubation: Place the mixture in a water bath or heating block preheated to 70∘C and incubate for exactly 3 minutes. Note: Incubating longer than 3 minutes may compromise RNA integrity.

- Debris Clearing: Centrifuge the tube at 12,000-14,000×g for 10 minutes at room temperature (20-25∘C).

### Phase 3: RNA Binding & Purification (Spin Format)

(Following Section 4.E)

- Bind RNA: Carefully pipet the cleared lysate supernatant (approx. 500μl) to a fresh microcentrifuge tube, avoiding the pelleted debris. Add 200μl of 95% ethanol to the cleared lysate and mix by pipetting 3–4 times. Transfer the entire mixture into the Spin Column Assembly.

- Centrifuge: Centrifuge at 12,000-14,000×g for 1 minute. Remove the Spin Basket, discard the liquid flow-through from the Collection Tube, and place the Spin Basket back into the Collection Tube.

- First Wash: Add 600μl of prepared RNA Wash Solution to the Spin Column Assembly. Centrifuge at 12,000-14,000×g for 1 minute. Discard the flow-through and place the Spin Basket back into the Collection Tube.

### Phase 4: On-Column DNase Treatment

- Prepare DNase Mix: In a sterile tube, prepare the DNase incubation mix fresh for sample by combining the reagents in this exact order:

  - 40μl Yellow Core Buffer

  - 5μl 0.09M MnCl2

  - 5μl Rehydrated DNase I enzyme

  - Mix gently by pipetting; do not vortex.

- Apply DNase: Pipet the 50μl of yellow DNase incubation mix directly onto the silica membrane inside the Spin Basket, ensuring it completely and thoroughly covers the membrane surface.

- Incubate: Incubate at room temperature (20-25∘C) for 15 minutes.

- Stop DNase: Add 200μl of prepared DNase Stop Solution directly to the Spin Basket. Centrifuge at 12,000-14,000×g for 1 minute. (No need to empty the Collection Tube after this step).

### Phase 5: Final Washes & Elution

- Second Wash: Add 600μl of prepared RNA Wash Solution to the assembly. Centrifuge at 12,000-14,000×g for 1 minute.

- Dry Membrane: Empty the Collection Tube completely. Add 250μl of prepared RNA Wash Solution and centrifuge at high speed (12,000-14,000×g) for 2 minutes to completely dry the membrane.

- Elute RNA: Remove the cap from the Spin Basket by twisting it off. Transfer the Spin Basket into a fresh, sterile, capped 1.5ml Elution Tube (provided). Add 100μl of Nuclease-Free Water directly onto the membrane, ensuring full coverage.

- Final Spin: Centrifuge at 12,000-14,000×g for 1 minute. Discard the Spin Basket. Cap the Elution Tube containing the purified total RNA and immediately store it at -70∘C.

Crucial Reminder: Because expected RNA yields from serum are inherently very low, do not attempt to measure the purity or concentration via spectrophotometry (A260/A280), as the results will not be reliable. Proceed directly to downstream RT-PCR/qRT-PCR applications.