EXTRACTION AND PURIFICATION OF TOTAL RNA FROM SPLEEN TISSUE (MOUSE)

Critical Spleen-Specific Constraints

- Maximum Starting Mass: Do not exceed 15 mg of spleen tissue per preparation. Spleen tissue is extremely dense in nucleic acids and proteins. Exceeding 15 mg will cause a highly viscous lysate that clogs the column or causes genomic DNA contamination.

- Viscosity Adjustment: If the lysate is too thick to pipette easily after homogenization, dilute it with a small amount of additional RNA Lysis Buffer before adding the blue RNA Dilution Buffer.

### Phase 1: Reagent Setup & Safety

- Protective Care: Use RNase-free pipettes and wear gloves at all times to prevent contamination.

- Lysis Buffer Stock: Ensure β-mercaptoethanol (BME) has been mixed into RNA Lysis Buffer (RLA) stock prior to use (10 μl of BME per 10 ml of buffer).

- Wash & Stop Solutions: Ensure 95% ethanol has been added to both concentrated RNA Wash Solution (RWA) and DNase Stop Solution (DSA) bottles.

- DNase I: Rehydrate lyophilized DNase I with the volume of Nuclease-Free Water indicated on its vial. Keep on ice; do not vortex.

### Phase 2: Spleen Lysate Preparation & Clarification

- Aliquot Lysis Buffer: Transfer 175 μl of prepared RNA Lysis Buffer into a sterile 1.5 ml microcentrifuge tube.

- Tare Weight: Weigh the tube containing the buffer and record the baseline weight.

- Tissue Mashing: Quickly cut a small piece of spleen tissue with a sterile razor blade (aiming for ≤15 mg). Mesh the tissue using a dedicated tissue mesher (hand homogenizer) or with the assistance of a sterile 1 ml syringe piston. Immediately transfer the meshed tissue into the tube containing 175 μl of RNA Lysis Buffer and mix thoroughly by inversion.

- Determine Mass: Weigh the tube again. Subtract the baseline weight recorded in Step 2 to determine the exact tissue mass.

  - Spleen Check: Confirm the mass is ≤15 mg. If the lysate appears exceptionally thick or unpipettable, add a minimal volume of extra RNA Lysis Buffer now to reduce the viscosity.

- Dilution & Denaturation: Add 350 μl of blue RNA Dilution Buffer to the 175 μl lysate. Mix thoroughly by inverting the tube 3–4 times.

- Heat Incubation: Place the tube into a water bath or heating block preheated to 70∘C for exactly 3 minutes. Do not exceed 3 minutes, as prolonged heat compromises RNA integrity.

- Debris Spin: Centrifuge the mixture at 12,000-14,000×g for 10 minutes to pellet the dense cellular debris and precipitated proteins.

### Phase 3: RNA Binding & Column Washing

- Collect Lysate: Carefully transfer the cleared supernatant fluid into a fresh microcentrifuge tube by pipetting. Avoid touching or disturbing the pelleted debris at the bottom of the tube.

- Ethanol Addition: Add 200 μl of 95% ethanol to the cleared lysate supernatant and mix completely by pipetting up and down 3–4 times.

- Load Column: Transfer this mixture into the Spin Column Assembly (placed inside a labelled Collection Tube). Centrifuge at 12,000-14,000×g for 1 minute.

- Discard Flow-Through: Separate the Spin Basket from the collection assembly, discard the collected liquid flow-through from the tube, and reseat the Spin Basket back inside the Collection Tube.

- Primary Wash: Add 600 μl of prepared RNA Wash Solution to the Spin Column Assembly. Centrifuge at 12,000-14,000×g for 1 minute. Discard the flow-through liquid and place the Spin Basket back into the Collection Tube.

### Phase 4: On-Column DNase Digestion

(Crucial for spleen samples to break down the abundant host genomic DNA molecules)

- Fresh DNase Mix: In a clean, sterile tube, prepare the single-sample DNase mixture by combining the following components in this exact order:

  - 40 μl Yellow Core Buffer

  - 5 μl 0.09 M MnCl2

  - 5 μl Rehydrated DNase I enzyme

  - Mix gently by pipetting up and down; do not vortex.

- Digestion: Apply the 50 μl of yellow incubation mix directly onto the silica membrane inside Spin Basket, confirming that the yellow liquid covers the membrane surface entirely.

- Incubation: Incubate at room temperature (20-25∘C) for 15 minutes.

- DNase Stop: Add 200 μl of prepared DNase Stop Solution directly to the Spin Basket. Centrifuge at 12,000-14,000×g for 1 minute. There is no immediate need to empty the collection tube after this step.

### Phase 5: Final Cleansing & RNA Elution

- Second Wash: Add 600 μl of RNA Wash Solution to the column assembly. Centrifuge at 12,000-14,000×g for 1 minute.

- Membrane Drying: Empty the collection tube fully. Add a final 250 μl of RNA Wash Solution and centrifuge at maximum speed (12,000-14,000×g) for 2 minutes to eliminate all residual ethanol carryover.

- Assemble Elution: Remove the plastic cap from the Spin Basket using a twisting motion. Move the Spin Basket into a fresh, sterile 1.5 ml Elution Tube (provided).

- Elution: Add 100 μl of Nuclease-Free Water directly to the center of the membrane surface. Place the assembly into the microcentrifuge with the open lids of the Elution Tubes facing outward.

- Final Spin: Centrifuge at 12,000-14,000×g for 1 minute. Remove and discard the empty Spin Basket.

- Storage: Cap the Elution Tube holding purified total spleen RNA and store it immediately at -70∘C or -80∘C.